## Slide 1
WECOME
Here you can add something in brief as the explanation, this is a demo text
Bahria university, Islamabad campus
Mid-term presentation
1
Exoskeleton-based Hand Rehabilitation for Post-stroke Motor Recovery

## Slide 2
Exoskeleton-based Hand Rehabilitation for Post-stroke Motor Recovery
Supervised by: Engr. Nadia Imran
Project by: Muhammad Arslan, Ahmad Bilal, Sharjeel Ashraf
2

## Slide 3
2
Rehabilitation is extremely slow and tedious via traditional methods [2]
1
Stroke patients left with impairments [1]
4
Physical supervision of medical professional required
3
Physiotherapy equipment are expensive and not accessible to everyone
Problem Statement

## Slide 4
Block Diagram
Overall calibration of the system

## Slide 5
5
Exoskeleton performs finger movements
Control Unit
6
GUI integrated and able to provide training
GUI
3
3D modeling and printing
4
Model Assembled
Exoskeleton Assembly
3D printed the model
Implementation details
1
Concept developed on cardboard
3D concept
2
Model controlled using Arduino
Controlled Actuation
Exoskeleton is actuated using fishing threads
with help of servo motors
Controlled by Arduino

## Slide 6
3D-Printed model
The exoskeleton device is printed using polylactic acid and thermoplastic polyurethane material
SLT Files on 3D print board

## Slide 7
Exoskeleton Model Assembled

## Slide 8
Exoskeleton Model Assembled (Top View)

## Slide 9
Graphical User Interface
1
Easy-to-Use Application to control the device
Desktop App
2
Cab train hand in auto and customized modes
Auto and Manual Training

## Slide 11
Median nerve
training &
rehabilitation
Exercise 1

## Slide 12
Radial & Ulnar nerves rehabilitation
Exercise 2

## Slide 13
Jan 8th
Jan 20th
March 1st
Cardboard model
actuation
3D modeling
and simulation
Design assembly
and actuation
Our Timeline
The timeline we have followed the project and to continue
Feb 10th
3D printing and testing
March 20th
April 20th
June 1st
Remaining Servobox
printing & assembly
Application and
Input interface
Final Presentation
May 20th
Complete working Exoskeleton

## Slide 14
1
Current methods costly and tedious
Stroke patients paralyzed
2
3D-printed hand exoskeleton actuating fingers & training
3D-Printed exoskeleton
3
We have presented the final prototype of our project
Final Prototype
Conclusions

## Slide 15
References
1. GBD Mortality and Causes of Death Collaborators, “Global, regional, and national age–sex specific all-cause and cause-specific mortality for 240 causes of death,1990–2013: A systematic analysis for the global burden of disease study 2013,” Lancet, vol. 385, no. 9963, pp. 117–171, 2015.
02. C. E. Lang and J. A. Beebe, “Relating movement control at 9 upper extremity segments to loss of hand function in people with chronic hemiparesis,” Neurorehabil Neural Repair, vol. 21, no. 3, pp. 279–292, 2007.
03. Li M, He B, Liang Z, et al. An Attention-Controlled Hand Exoskeleton for the Rehabilitation of Finger Extension and Flexion Using a Rigid-Soft Combined Mechanism. Front Neurorobot. 2019;13:34. Published 2019 May 29. doi:10.3389/fnbot.2019.00034

## Slide 16
In the memory of our brother and groupmate, Muhammad Arslan
May he rest in peace

## Slide 17
THANK YOU
Criticism and questions are welcome

## Slide 18
FAQ 1
FAQ 2
FAQ 3

## Slide 19
FAQ 4 [3]
Adafruit 16-Channel 12-bit PWM/Servo Driver - I2C interface - PCA9685
4 x 1.2 Amp = 4.8 Amps at 5v = 24 watts supply